## Slide 1
ADAPT technique is an independent predictor of good clinical outcome
(p = 0.049)1
Comparison of clinical outcomes in patients with acute ischemic strokes treated with mechanical thrombectomy using either Solumbra or ADAPT techniques
1. Delgado Almandoz JE, Kayan Y, Young ML, et al. Comparison of clinical outcomes in patients with acute ischemic strokes treated with mechanical thrombectomy using either Solumbra or ADAPT techniques [Published online ahead of print December, 2015]. J NeuroIntervent Surg. 2015;0:1-6. doi:10.1136/neurintsurg-2015-012122.

## Slide 2: Study Background1
Physician-initiated
Abbott Northwestern
100 patients
  45 in ADAPT group
  55 in “Solumbra” group
Consecutive patients
Treated between Mar 2012 and Jun 2015
1. Delgado Almandoz JE, Kayan Y, Young ML, et al. Comparison of clinical outcomes in patients with acute ischemic strokes treated with mechanical thrombectomy using either Solumbra or ADAPT techniques [Published online ahead of print December, 2015]. J NeuroIntervent Surg. 2015;0:1-6. doi:10.1136/neurintsurg-2015-012122.

## Slide 3: Study Background1
Angiographic outcomes assessed by 2 neurointerventionalists
SICH determined by consensus with an independent neurologist
1. Delgado Almandoz JE, Kayan Y, Young ML, et al. Comparison of clinical outcomes in patients with acute ischemic strokes treated with mechanical thrombectomy using either Solumbra or ADAPT techniques [Published online ahead of print December, 2015]. J NeuroIntervent Surg. 2015;0:1-6. doi:10.1136/neurintsurg-2015-012122.

## Slide 4: Patient Characteristics1
 | ADAPT | Solumbra | P Value
N | 45 | 55 | NA
Age | 66.1 | 69.6 | 0.16
Mean NIHSS | 19.2 | 16.8 | 0.02
Mean baseline ASPECTS | 9.1 | 8.2 | <0.01
ICA occlusion | 42% | 20% | 0.03
Left side thrombus location | 62% | 49% | 0.23
Severe cervical tortuosity (≥360 degrees) | 33% | 15% | 0.03
Bold = Statistically significant
1. Delgado Almandoz JE, Kayan Y, Young ML, et al. Comparison of clinical outcomes in patients with acute ischemic strokes treated with mechanical thrombectomy using either Solumbra or ADAPT techniques [Published online ahead of print December, 2015]. J NeuroIntervent Surg. 2015;0:1-6. doi:10.1136/neurintsurg-2015-012122.

## Slide 5
“The ADAPT technique was a statistically significant independent predictor of a good clinical outcome at 90 days…” (p = 0.049) 1
1. Delgado Almandoz JE, Kayan Y, Young ML, et al. Comparison of clinical outcomes in patients with acute ischemic strokes treated with mechanical thrombectomy using either Solumbra or ADAPT techniques [Published online ahead of print December, 2015]. J NeuroIntervent Surg. 2015;0:1-6. doi:10.1136/neurintsurg-2015-012122.

## Slide 6: ADAPT: Improved Functional Independence1
Chart: 
| ADAPT | Solumbra
mRS ≤ 2 @ 90 Days | 0.56 | 0.31
P = 0.015
N = 25/45
N = 17/55
1. Delgado Almandoz JE, Kayan Y, Young ML, et al. Comparison of clinical outcomes in patients with acute ischemic strokes treated with mechanical thrombectomy using either Solumbra or ADAPT techniques [Published online ahead of print December, 2015]. J NeuroIntervent Surg. 2015;0:1-6. doi:10.1136/neurintsurg-2015-012122.

## Slide 7: ADAPT: Lower Hemorrhage Rates1
 | ADAPT (n = 45) | Solumbra (n = 55) | P Value
ICH | 22% | 47% | 0.01
SAH | 7% | 24% | 0.03
SICH | 2% | 13% | 0.07
Bold = Statistically significant
1. Delgado Almandoz JE, Kayan Y, Young ML, et al. Comparison of clinical outcomes in patients with acute ischemic strokes treated with mechanical thrombectomy using either Solumbra or ADAPT techniques [Published online ahead of print December, 2015]. J NeuroIntervent Surg. 2015;0:1-6. doi:10.1136/neurintsurg-2015-012122.

## Slide 8: ADAPT: Improved Clinical Measures1
 | ADAPT (n = 45) | Solumbra (n = 55) | P Value
Mean Neuro ICU LOS (length of stay in days) | 2.4 | 3.7 | 0.04
90-day mortality | 18% | 29% | 0.24
Bold = Statistically significant
1. Delgado Almandoz JE, Kayan Y, Young ML, et al. Comparison of clinical outcomes in patients with acute ischemic strokes treated with mechanical thrombectomy using either Solumbra or ADAPT techniques [Published online ahead of print December, 2015]. J NeuroIntervent Surg. 2015;0:1-6. doi:10.1136/neurintsurg-2015-012122.

## Slide 9
“Clinical outcomes were more favorable in the ADAPT group despite a higher proportion of patients with ICA terminus thrombi, higher presenting NIHSS, and more patients with severe cervical vascular tortuosity. 1”
1. Delgado Almandoz JE, Kayan Y, Young ML, et al. Comparison of clinical outcomes in patients with acute ischemic strokes treated with mechanical thrombectomy using either Solumbra or ADAPT techniques [Published online ahead of print December, 2015]. J NeuroIntervent Surg. 2015;0:1-6. doi:10.1136/neurintsurg-2015-012122.

## Slide 10: Backup

## Slide 11: Thrombectomy Devices Used1
 | ADAPT | Solumbra
Thrombectomy Devices | ACE: 88.9% 5MAX: 6.7% ACE64: 4.4% | Solitaire™ FR: 90.9% Trevo®: 9.1%
1. Delgado Almandoz JE, Kayan Y, Young ML, et al. Comparison of clinical outcomes in patients with acute ischemic strokes treated with mechanical thrombectomy using either Solumbra or ADAPT techniques [Published online ahead of print December, 2015]. J NeuroIntervent Surg. 2015;0:1-6. doi:10.1136/neurintsurg-2015-012122.
Product availability aries by country.

## Slide 12: Procedural Results1
 | ADAPT (n = 45) | Solumbra (n = 55) | P Value
TICI 2b/3 | 89% | 84% | 0.6
Time from puncture to reperfusion (mean min) | 50 | 51 | 0.8
Number of passes (mean) | 3.3* | 2.2 | 0.02
* Includes total number of ADAPT and Solumbra passes in cases where Solumbra salvage was needed
Note: ICA occlusions comprised 42% of cases in ADAPT vs 20% in Solumbra. P = 0.03
1. Delgado Almandoz JE, Kayan Y, Young ML, et al. Comparison of clinical outcomes in patients with acute ischemic strokes treated with mechanical thrombectomy using either Solumbra or ADAPT techniques [Published online ahead of print December, 2015]. J NeuroIntervent Surg. 2015;0:1-6. doi:10.1136/neurintsurg-2015-012122.

## Slide 13: Techniques1
ADAPT
  Sheath: NeuronMAX 088
  Velocity + 0.016" wire used to deliver ACE or ACE64
  3 aspiration attempts with MAX pump before using stent retriever/Solumbra
Solumbra
  Use of stent retriever with aspiration
1. Delgado Almandoz JE, Kayan Y, Young ML, et al. Comparison of clinical outcomes in patients with acute ischemic strokes treated with mechanical thrombectomy using either Solumbra or ADAPT techniques [Published online ahead of print December, 2015]. J NeuroIntervent Surg. 2015;0:1-6. doi:10.1136/neurintsurg-2015-012122.
Product availability aries by country.

## Slide 14: Independent Predictors of Good Clinical Outcome1
1. Delgado Almandoz JE, Kayan Y, Young ML, et al. Comparison of clinical outcomes in patients with acute ischemic strokes treated with mechanical thrombectomy using either Solumbra or ADAPT techniques [Published online ahead of print December, 2015]. J NeuroIntervent Surg. 2015;0:1-6. doi: 10.1136neurintsurg- 2015-012122.
.